**INSTOTECH Calibration LLP**

**Calibration Raw Data**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  | | --- | --- | --- | --- | | **Client Name** | **M.J. Biopharm Pvt. Ltd.**  L - 7 , MIDC Industrial Area ,  Taloja , Dist. - Raigad , Pin - 410208 | | | | **Cal. Date** |  | **Due Date** |  | | **Environmental Condition** | | **Start of Calibration** | **End of Calibration** | | **Temperature (˚C)** | |  |  | | **Relative Humidity (%)** | |  |  |   **DETAILS OF INSTRUMENT:**   |  |  |  |  | | --- | --- | --- | --- | | **INSTRUMENT** | RH Controller With Sensor | **ID NO.** | RHSM-0037 | | **MAKE** | Schneider | **RANGE** | 0 To100 %RH | | **OPERATING RANGE** | 70 To 80%RH | **LEAST COUNT** | 0.1 %RH | | ACCURACY | --- | **ACCEPTANCE CRITERIA** | ± 5 %RH | | **SECTION** | Quality Control | **SERIAL No.** | --- | | **LOCATION** | Stability Chamber , QC - 1553 | | |   **OBSERVATIONS:**   |  |  |  |  |  | | --- | --- | --- | --- | --- | | **Sr.**  **No**. | READING BEFORE ADJUSTMENT | | READING AFTER ADJUSTMENT | | | **Cal. Point**  **In** | **‘UUC’ Reading**  **In** | **Cal. Point**  **In \_\_\_\_\_\_\_\_\_** | **‘UUC’ Reading**  **In \_\_\_\_\_\_\_\_\_** | | 1 . |  |  |  |  | | 2 . |  |  |  |  | | 3 . |  |  |  |  | |  |  |  |  |  | |  |  |  |  |  | |  |  |  |  |  | |  |  |  |  |  |  ‘UUC’:Unit Under Calibration  |  |  |  | | --- | --- | --- | | Calibration Done By (INSTOTECH Calibration LLP ) | **Checked By(M.J. Biopharm**  Engineering Dept. ) | **Witnessed By(M.J. Biopharm**  **User Dept. )** | |  |  |  | |